SECTION 11 14 00 – PEDESTRIAN CONTROL EQUIPMENT

- GENERAL

SUMMARY

Section includes tripod barrier turnstiles. Provide complete system that has been fabricated and tested for proper operation at the factory.

Related Requirements:

Section 03 3000 "Cast-in-Place Concrete" for blockouts for recesses required for tripod barrier turnstile.

Division 26 electrical power section for wiring requirements for tripod barrier turnstiles.

Section 28 13 00 "Access Control" for security access system providing control for door access and intrusion detection systems interfacing with tripod barrier turnstile controls.

REFERENCE STANDARDS

American Architectural Manufacturers Association (AAMA)

AAMA 611 Voluntary Specification for Anodized Architectural Aluminum

ASTM International (ASTM)

ASTM A 36 / A36 Standard Specification for Carbon Structural Steel.

ASTM A 240 / A 240M Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications

ASTM A 666 Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar

ASTM B 209 Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM B 221 / ASTM B 221M Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes

International Code Council (ICC)

ICC A117.1 Accessible and Usable Buildings and Facilities (ANSI)

National Fire Protection Association (NFPA)

NFPA 70 National Electric Code.

NFPA 101 Life Safety Code.

ADMINISTRATION

Coordination:

Recesses: Coordinate size and location of recesses in floor construction for turnstile components including anchorages for frames and supports.

Anchorages: Furnish setting drawings, templates, and directions for installing anchorages that are to be embedded into flooring.

Pre-installation Conference:  Conduct conference at Project Site with Installation team.

ACTION SUBMITTALS

Product Data:  For each type of tripod barrier turnstile specified.

Include details, material descriptions, dimensions and profiles, and finishes.

Include rated capacities, operating characteristics, electrical characteristics, and specialties and accessories.

Shop Drawings: For tripod barrier turnstiles.

Include plans, elevations, sections, attachment details, dimensions, required clearances, methods of field assembly, and location and size of each field connection.

Indicate enclosures and components.

Include diagrams for power, signal, and control wiring.

Samples for Verification:  For each exposed component including hardware, for each color and finish selected, as required by architect.

INFORMATIONAL SUBMITTALS

Qualification Data:  For qualified installer.

Field quality control reports.

Warranty:  Sample of unexecuted manufacturer warranty.

CLOSEOUT SUBMITTALS

Maintenance Data: For tripod barrier turnstiles, to include in operation and maintenance manuals.

QUALITY ASSURANCE

Installer Qualifications:  Installer  with minmum 10 years of experience equipped and trained by manufacturer for installation and maintenance of units required for this Project, and who employs a Certified Inspector.

DELIVERY, STORAGE, AND HANDLING

Package tripod barrier turnstile components individually with fasteners and installation templates; label and identify each package with door opening designation corresponding to Door Schedule.

Store components in weather-protected area in manufacturer's unopened packaging until ready for installation.

Protect materials from exposure to weather. Do not deliver until Rough Opening is Complete and Ready for Installation.

WARRANTY

Special Manufacturer's Warranty:  Standard form in which manufacturer agrees to repair or replace components of tripod barrier turnstiles that demonstrate deterioration or faulty operation due to defects in materials or workmanship under normal use within warranty period specified.

Fabrication Warranty Period:  One  (1) year from date of Substantial Completion.

- PRODUCTS

MANUFACTURERS

Basis-of-Design Product:  Provide tripod barrier turnstiles manufactured by, dormakaba, Winston-Salem, NC; (844)-SPEC-NOW (844)773-2669; email: specnow.us@dormakaba.com ;website: www.dormakaba.us

[Substitutions: Requests for substitution and product approval in compliance with the specification must be submitted in writing and in accordance with the procedures outlined in Division 1, Section “Substitution Procedures”. Approval of requests is at the discretion of the architect, owner, and their designated consultants.]

[Substitutions Not Permitted]

Source Limitations: Obtain tripod barrier turnstile components through one source from a single manufacturer.

TRIPOD BARRIER TURNSTILE

Housing and base columns shall be #4 stainless steel. Base columns are empty and can be used to integrate customer components.  Rotation head, electrical and mechanical elements are integrated into the centre housing. In case of multiple installations, the housing unit acts as a guiding element – additional guiding bars are not required.

Crossbars shall be #4 stainless steel.

End cap: [full surface] [tapered surface]

SECURITY

Actuation: Turnstile actuation by external card reader, biometric reader, key pad or remote push button.  Actuation devices provided by not limited to dormakaba.

Tailgating Control: Turnstile shall allow one rotation per authorization

OPERATION

Mechanical: Unit is free to rotate in entry, exit or both directions

Mechanical registers (counters) available for one or both directions for travel.

Electrical: The locking and unlocking of the turnstile is accomplished by use of a low voltage, 24 VDC, system. Activation is via a momentary, isolated normally open dry contact closure.

Power Assist: tripod barrier is equipped with a servo-positioning drive (low energy drive) and is electrically controlled in both directions. Rotary motion is started by manually pushing the turnstile. The rotating unit is then automatically turned by a motor to the next home position.

Electrical controls are available in both entrance and exit directions. Controls may be fail-safe, fail-lock or any combination, in either controlled direction. Turnstiles shall be built to customer’s specified configuration.

Once a direction of passage is opened, it will remain open until the user proceeds through to the other side of the turnstile. Once the user proceeds through the turnstile, the reset system automatically re-locks the turnstile and readies it for the next user.

Means Cycle between failure: 5 million cycles.

POWER REQUIREMENTS

Electrical Characteristics:

Voltage: 100 - 240V AC 50/60 Hz.

Refer to Division 26 electrical sections for wiring connections.

MATERIALS

Materials provided shall meet  ASTM standards.

FINISHES

Contact SPEC Now for custom finish options. Choose type of finish and type color and/or metal.

Comply with NAAMMs “Metal Finishes Manual for Architectural and Metal Products” for recommendations for applying and designating finishes.

Cabinet:

Stainless Steel

[Stainless Steel #4 brushed]

Powder Coat finish

[Powder coat painted to match architects sample.]

Top Surface:

Stainless Steel

[Stainless Steel #4 brushed]

Powder Coat finish

[Powder coat painted to match architects sample.]

Stone finishes: Granite, Quartz, Corian – as selected by Architect

Wood finishes: as selected by Architect

Consult SPEC NOW for Options information

OPTIONS

Rotation detection

Remote control panel

Key override for entry/exit

Home position status

Red and green signal lights

Credential Reader – recessed or surface mounted

Collapsable crossbars for life safety egress [with automatic reset upon resumption of power supply]

Serial port interface

Manual override

Steel Platform – finish as selected by Architect

- EXECUTION

EXAMINATION

Examine tripod barrier turnstile opening to determine if work is within manufacturer's required tolerances and ready to receive work.

Verify recesses and supplemental framing comply with requirements on approved shop drawings.

Verify electrical power and control connections are properly located and of correct characteristics.

Proceed with installation once conditions affecting installation and performance of interlocking door entrance meet manufacturer's requirements.

INSTALLATION

General: Comply with turnstile manufacturer's written installation instructions and approved shop drawings.

Set units level, plumb, and true to line, with uniform joints. Maintain assembly dimensional tolerances, aligning with adjacent Work.

Install enclosure panels in accordance with manufacturer.

Complete connections to electrical power, lighting, and controls in accordance with requirements of respective Division 26 and Division 28 Sections.

Install panels, with operators and controls. Fit, align, and adjust assembly for smooth operation.

ADJUSTING

Adjust operating components and hardware to produce smooth operation and tight, uniform fit.

Replace damaged components and accessories.

CLEANING

Clean finished surfaces in accordance with manufacturer's written instructions. Do not use cleaning agents or methods not approved by manufacturer.

Clean exposed metal surfaces to factory new appearance.

END OF SECTION